## RMSE-Multiple
Test for Root Mean Squared Error — Multiple Test Levels
AL | 1 | Action level
ϕMR | 10% | Required relative method uncertainty |  |  |  | α | 5% | Significance level
Level 1 |  |  |  |  | Level 2 |  |  |  |  | Level 3 |  |  |  |  | Level 4
K | X | ureq | W |  | K | X | ureq | W |  | K | X | ureq | W |  | K | X | ureq | W
0.5 | 0.4804 | 0.1 | -0.196 | 1 | 1 | 0.8719 | 0.1 | -1.281 | 1 | 3 | 2.5468 | 0.3 | -1.5107 | 1
0.5 | 0.4683 | 0.1 | -0.317 | 2 | 1 | 0.8036 | 0.1 | -1.964 | 2 | 3 | 2.5302 | 0.3 | -1.566 | 2
0.5 | 0.5647 | 0.1 | 0.647 | 3 | 1 | 0.8988 | 0.1 | -1.012 | 3 | 3 | 2.4293 | 0.3 | -1.9023 | 3
0.5 | 0.4961 | 0.1 | -0.039 | 4 | 1 | 0.8918 | 0.1 | -1.082 | 4 | 3 | 2.4934 | 0.3 | -1.6887 | 4
0.5 | 0.4323 | 0.1 | -0.677 | 5 | 1 | 0.9486 | 0.1 | -0.514 | 5 | 3 | 2.3574 | 0.3 | -2.142 | 5
|  |  |  | 6 |  |  |  |  | 6 |  |  |  |  | 6
|  |  |  | 7 |  |  |  |  | 7 |  |  |  |  | 7
|  |  |  | 8 |  |  |  |  | 8 |  |  |  |  | 8
|  |  |  | 9 |  |  |  |  | 9 |  |  |  |  | 9
|  |  |  | 10 |  |  |  |  | 10 |  |  |  |  | 10
Tests for Mean Squared Error (Chi-Squared and Likelihood Ratio)
Level | n | W̅ | σ̂ | χ2 | p(χ2) | χ2 Eval | λ | λ* | p(λ*) | λ* Eval | Q | R | D | S | T | δ̃
1 | 5 | -0.1164 | 0.4358 | 1.0174 | 96.12% | Pass | 4.0418 | 0 | 50% | Pass | 0.066319 | -0.054311 | 0.0032414 | 0.13789 | -0.48094 | -0.38185
2 | 5 | -1.1706 | 0.47028 | 7.9573 | 15.86% | Pass | 1.8714 | 1.8714 | 12.45% | Pass | 0.37823 | -0.33422 | 0.16581 | 0.4179 | -0.90508 | -0.87738
3 | 5 | -1.7619 | 0.23283 | 15.7931 | 0.746% | Fail | 17.7471 | 17.7471 | 0.01564% | Fail | 0.70794 | -0.156 | 0.37914 | 0.7718 | -0.91726 | -0.73277
4 | 0
Levels | 3 |  | Chi-Squared |  | Fails |  |  |  | Symbols
Šidak α′ | 1.695% |  | Likelihood Ratio |  | Fails |  |  |  | AL | Action level
[9 empty] | ϕMR | Required relative method uncertainty
[9 empty] | α | Significance level
[9 empty] | K | Reference value (known value)
[9 empty] | X | Measured value
[9 empty] | ureq | Required uncertainty at the reference value
[9 empty] | W | Standardized score
[9 empty] | n | Number of replicate measurements at one test level
[9 empty] | W̅ | Average value of W
[9 empty] | σ̂ | Maximum-likelihood estimate of the standard deviation of W
[9 empty] | χ2 | Chi-squared statistic
[9 empty] | λ | Two-sided likelihood-ratio statistic
[9 empty] | λ* | One-sided likelihood-ratio statistic
[9 empty] | Q | Intermediate variable
[9 empty] | R | Intermediate variable
[9 empty] | D | Intermediate variable
[9 empty] | S | Intermediate variable
[9 empty] | T | Intermediate variable
[9 empty] | δ̃ | Maximum-likelihood estimate of the standardized bias assuming H0